Snagging List – Second Floor

Room SF01

Patch door fire signage removed.

Window seat needs fitting

Toilet seat need fitted

Restrictor screw for shire screen

Paint needed around light fittings

Paint on bath and door edge.

Room SF02

Fix door where fire sign removed

Paint door edges

Fill around recess light fitting

Ensuite light not working

Ensuite – touch up ceiling around fixtures

Xxxx on high level door architrave

Rom SF03

Touch door where signed removed

Paint radiator cover

Touch up ceiling around light fittings

Marks on window frames

Holes for sockets need patched

Ensuite radiator paint required

Paint around ceiling fitting – ensuite

Secure recess light fitting

Secure bath tap to bath

Tiling on feature wall – grout cracking

Corners of tiling need silicone jointing

Door stops fitted to all doors

Sockets xxx entrance

Bedroom Room SF04

Touch up door where sign removed

Ensuite light fitting

Fill required to tiling at saver point

Paint above door on ensuite

Paint bath panels

Ensuite door does not close

Door to SF05 need painting

Stair to SF05 call and ceiling needs touched up

Touch also where scaffold affected

Paint access hatch

Paint store door and architraves not completed

Holds and celling not patched

Corridor SF06 – no restrictors on windows

Paint radiator covers

Cracked and filling on window frames

Paint along ceiling and wallpaper edges

Marks on architrave to room SF03

Paint internal window

Make good ceiling at PIR censor

Wallpaper under alcove to riser

Make good celling at emergency light

Electrical riser needs completed and cleaned out

Staircase corridor

hatch required

PIR sensor fixed

Corridor SF09 celling needs completed

SF04 bedroom celling needs touched up

Store

Make good ceiling at cable xxxxx

Paint been removed.

Fire stopping at cable xxxx required

Fire door signage required

Bedroom SF10

Paint beam, fill holes on ceiling

Ensuite light not working

Crack on ceiling of ensuite

Make good celling of bedroom

Bedroom SF11

Paint door edges

Fit socket TV point to all

Fix grout at angle corner of ensuite

Bedroom SF14

Paint door edges

Ensuite make good celling

Secure light fitting

Bedroom SF13

Paint door edges

Some bulbs not working

Bedroom SF16

Window sill needs fitting

Ensuite sill above shaver point

Paint doors edges

Corridor painting required

Radiator covers – painting

Touch up ceiling

Paint window

Touch up at xxxx

Carpet still to be fit

Wallpapers all ok in corridors

Touch up PIR sensors

Side stair 3 – xxx still needs paiting